## hvdc
name | from_busname | to_busname | stat | r | x | b | ShortTermRating | ContinousRating | angLB | angUB | contingency | probability | type | costc2 | costc1 | costc0
Test | X | 2 | 1 | 0 | 0.0586 | 0 | 2400 | 2200 | -360 | 360 | 1 | 0.0001 | MTDC | 0 | 0 | 0

## bus
name | baseKV | type | zone | VM | VA | VNLB | VNUB | VELB | VEUB
1 | 345 | 3 | 1 | 1 | 0 | 0.9 | 1.1 | 0.9 | 1.1
2 | 345 | 2 | 1 | 1 | 0 | 0.9 | 1.1 | 0.9 | 1.1

## demand
name | busname | real | reactive | stat | VOLL
D1 | 1 | 500 | 166.6667 | 1 | 100000
D2 | 2 | 500 | 175 | 1 | 100000

## branch
name | from_busname | to_busname | stat | r | x | b | ShortTermRating | ContinousRating | angLB | angUB | contingency | probability
L_AC | 1 | 2 | 1 | 0 | 0.0576 | 0 | 250 | 250 | -360 | 360 | 1 | 0.0001

## transformer
name | from_busname | to_busname | stat | type | r | x | b | ShortTermRating | ContinousRating | angLB | angUB | PhaseShift | TapRatio | TapLB | TapUB | contingency | probability

## wind
busname | name | stat | PG | QG | PGLB | PGUB | QGLB | QGUB | VS | contingency | probability

## shunt
busname | name | GL | BL | stat

## zone
zone | reserve(MW)

## zonalNTC
zone | reserve(MW)

## generator
busname | name | stat | type | PG | QG | PGLB | PGUB | QGLB | QGUB | VS | RampDown(MW/hr) | RampUp(MW/hr) | MinDownTime(hr) | MinUpTime(hr) | FuelType | contingency | probability | startup | shutdown | costc2 | costc1 | costc0
1 | G1 | 1 | 3 | 0 | 0 | -250 | 0 | -300 | 0 | 1 | 0 | 0 | 1 | 1 | NA | 0 | 0.0001 | 1500 | 0 | 100000 | 500 | 1000000

## baseMVA
baseMVA
100